## AB-2 5th Floor
(per Floor) | Copies | H² | T | L | α² | U | Total (per floor) | H² | T | L | α² | U
Faculty Office | 12 | 3.44 | 1.72 | 0.84 | 0 | 0 |  | 41.28 | 20.64 | 10.08 | 0 | 0
Faculty Corridor | 1 | 0 | 0 | 3 | 9 | 0 |  | 0 | 0 | 3 | 9 | 0
Washrooms | 2 | 0 | 1 | 0 | 0 | 2 |  | 0 | 2 | 0 | 0 | 4
5TL | 4 | 13 | 0 | 1 | 0 | 0 |  | 52 | 0 | 4 | 0 | 0
5L | 4 | 10 | 0 | 4 | 0 | 0 |  | 40 | 0 | 16 | 0 | 0
Corridor general | 1 | 0 | 0 | 13 | 36 | 0 |  | 0 | 0 | 13 | 36 | 0
Staircases | 1 | 0 | 0 | 2 | 0 | 0 |  | 0 | 0 | 2 | 0 | 0
Lift Area | 1 | 1 | 0 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0 | 0
[8 empty] | 134.28 | 22.64 | 48.08 | 45 | 4
We can estimate the total of each type of light by multiplying the Floor Total by 5(# of floors) x 2(# of ABs) = 10
|  | H² | T | L | α² | U
Faculty Office |  | 412.8 | 206.4 | 100.8 | 0 | 0
Faculty Corridor |  | 0 | 0 | 30 | 90 | 0
Washrooms |  | 0 | 20 | 0 | 0 | 40
5TL |  | 520 | 0 | 40 | 0 | 0
5L |  | 400 | 0 | 160 | 0 | 0
Corridor general |  | 0 | 0 | 130 | 360 | 0
Staircases |  | 0 | 0 | 20 | 0 | 0
Lift Area |  | 10 | 0 | 0 | 0 | 0
| Total | 1342.8 | 226.4 | 480.8 | 450 | 40
|  | T² | T | L | α² | U
Faculty Office |  | 8 | 8 | 8 | 8 | 8
Faculty Corridor |  | 16 | 16 | 16 | 16 | 16
Washrooms |  | 24 | 24 | 24 | 24 | 24
5TL |  | 20 | 20 | 20 | 20 | 20
5L |  | 20 | 20 | 20 | 20 | 20
Corridor general |  | 16 | 16 | 16 | 16 | 16
Staircases |  | 8 | 8 | 8 | 8 | 8
Lift Area |  | 8 | 8 | 8 | 8 | 8
|  | 2 x 18 | 1 x 28 | 1 x 18 | 2 x 11 | 1 x 36
Power rating in Watts(W)
|  | T² | T | L | α² | U
Faculty Office |  | 72 | 28 | 18 | 22 | 20
Faculty Corridor |  | 72 | 28 | 18 | 22 | 20
Washrooms |  | 72 | 28 | 18 | 22 | 20
5TL |  | 72 | 28 | 18 | 22 | 20
5L |  | 72 | 28 | 18 | 22 | 20
Corridor general |  | 72 | 28 | 18 | 22 | 20
Staircases |  | 72 | 28 | 18 | 22 | 20
Lift Area |  | 72 | 28 | 18 | 22 | 20
|  | 2 x 36 | 1 x 28 | 1 x 18 | 2 x 11 | 1 x 36

## Sheet5
(per Floor) | Copies | H² | T | L | α² | U | Total (per floor) | H² | T | L | α² | U
Faculty Office | 12 | 3.44 | 1.72 | 0.84 | 0 | 0 |  | 41.28 | 20.64 | 10.08 | 0 | 0
Faculty Corridor | 1 | 0 | 0 | 3 | 9 | 0 |  | 0 | 0 | 3 | 9 | 0
Washrooms | 2 | 0 | 1 | 0 | 0 | 2 |  | 0 | 2 | 0 | 0 | 4
5TL | 4 | 13 | 0 | 1 | 0 | 0 |  | 52 | 0 | 4 | 0 | 0
5L | 4 | 10 | 0 | 4 | 0 | 0 |  | 40 | 0 | 16 | 0 | 0
Corridor general | 1 | 0 | 0 | 13 | 36 | 0 |  | 0 | 0 | 13 | 36 | 0
Staircases | 1 | 0 | 0 | 2 | 0 | 0 |  | 0 | 0 | 2 | 0 | 0
Lift Area | 1 | 1 | 0 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0 | 0
[8 empty] | 134.28 | 22.64 | 48.08 | 45 | 4
We can estimate the total of each type of light by multiplying the Floor Total by 5(# of floors) x 2(# of ABs) = 10
| H² | T | L | α² | U
Faculty Office | 412.8 | 206.4 | 100.8 | 0 | 0
Faculty Corridor | 0 | 0 | 30 | 90 | 0
Washrooms | 0 | 20 | 0 | 0 | 40
5TL | 520 | 0 | 40 | 0 | 0
5L | 400 | 0 | 160 | 0 | 0
Corridor general | 0 | 0 | 130 | 360 | 0
Staircases | 0 | 0 | 20 | 0 | 0
Lift Area | 10 | 0 | 0 | 0 | 0
Total | 1343 | 227 | 481 | 450 | 40
|  | T² | T | L | α² | U
Faculty Office |  | 8 | 8 | 8 | 8 | 8
Faculty Corridor |  | 16 | 16 | 16 | 16 | 16
Washrooms |  | 24 | 24 | 24 | 24 | 24
5TL |  | 20 | 20 | 20 | 20 | 20
5L |  | 20 | 20 | 20 | 20 | 20
Corridor general |  | 16 | 16 | 16 | 16 | 16
Staircases |  | 8 | 8 | 8 | 8 | 8
Lift Area |  | 8 | 8 | 8 | 8 | 8
|  | 2 x 18 | 1 x 28 | 1 x 18 | 2 x 11 | 1 x 36
Power rating in Watts(W)
|  | T² | T | L | α² | U
Faculty Office |  | 72 | 28 | 18 | 22 | 20 |  |  |  |  | 784166.4, 38361.6, 135475.2, 36000. , 8640.
Faculty Corridor |  | 72 | 28 | 18 | 22 | 20
Washrooms |  | 72 | 28 | 18 | 22 | 20
5TL |  | 72 | 28 | 18 | 22 | 20
5L |  | 72 | 28 | 18 | 22 | 20
Corridor general |  | 72 | 28 | 18 | 22 | 20
Staircases |  | 72 | 28 | 18 | 22 | 20
Lift Area |  | 72 | 28 | 18 | 22 | 20
|  | 2 x 36 | 1 x 28 | 1 x 18 | 2 x 11 | 1 x 36
|  | H² | T | L | α² | U
|  | 784166.4 | 38361.6 | 135475.2 | 36000 | 8640

## Sheet3
LOCATION | UNITS PER DAY
CAF- FRONT | 998
ADMN. BLOCK | 160
LHC | 166
AB-1 | 4829 | 2400 | 4829
AB-2 | 4932 | 2323 | 4932
ANIMAL HOUSE | 1688 | 2392 | 9761
HOSTEL NO.5 | 2400 | 2371
HOSTEL NO.7 | 2323 | 9486
HOSTEL NO.6 | 2392
HOSTEL NO.8 | 2371
VISITOR HOSTEL | 480
INFORMATICS | 2400
25139

## Hostel 57
| Copies | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. | 1 | 2 | 0 | 2 | 13 | 0 | 13 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. | 2 | 2 | 0 | 0 | 18 | 2 | 0 | 0 | 0 | 0 | 0
4th Floor C. | 1 | 2 | 0 | 0 | 16 | 2 | 2 | 0 | 0 | 0 | 0
5th Floor C. | 1 | 2 | 0 | 0 | 15 | 0 | 8 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. | 3 | 2 | 0 | 0 | 13 | 0 | 6 | 0 | 0 | 0 | 0
Mess H7 | 0.5 | 0 | 0 | 2 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Mess H5 | 0.5 | 4 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 0
Study Rooms | 1 | 13 | 0 | 3 | 0 | 7 | 0 | 0 | 0 | 0 | 0
Study Room C. | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | 0
Washroom | 48 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 1.5 | 7 | 0
Rooms | 262 | 0 | 0 | 0.475 | 0 | 0.525 | 0 | 0 | 0 | 0 | 1
To get the total count, we multiply all the lights by their number of copies, add them up, and in the end multiply them by 2 to get the count for Hostel 5 and 7.
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 4 | 0 | 4 | 26 | 0 | 26 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. |  | 8 | 0 | 0 | 72 | 8 | 0 | 0 | 0 | 0 | 0
4th Floor C. |  | 4 | 0 | 0 | 32 | 4 | 4 | 0 | 0 | 0 | 0
5th Floor C. |  | 4 | 0 | 0 | 30 | 0 | 16 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. |  | 12 | 0 | 0 | 78 | 0 | 36 | 0 | 0 | 0 | 0
Mess H7 |  | 0 | 0 | 2 | 0 | 8 | 0 | 0 | 0 | 0 | 0
Mess H5 |  | 4 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 0
Study Rooms |  | 26 | 0 | 6 | 0 | 14 | 0 | 0 | 0 | 0 | 0
Study Room C. |  | 0 | 0 | 4 | 2 | 0 | 2 | 0 | 0 | 0 | 0
Washroom |  | 0 | 0 | 0 | 0 | 0 | 48 | 0 | 144 | 672 | 0
Rooms |  | 0 | 0 | 248 | 0 | 274 | 0 | 0 | 0 | 0 | 524
| Total | 62 | 0 | 266 | 240 | 312 | 132 | 0 | 144 | 672 | 524
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
4th Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
5th Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
Mess H7 |  | 9 | 0 | 9 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Mess H5 |  | 9 | 0 | 9 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Study Rooms |  | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0
Study Room C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
Washroom |  | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 24 | 24 | 0
Rooms |  | 0 | 0 | 8.25 | 0 | 8.25 | 0 | 0 | 0 | 0 | 1.6
We'll assume outdoor lights are switched on from 7 pm till 7 am, so 12 hours.
We'll assume that the mess is open for 3 hours for each meal, hence lights are on 9 hours a day.
Study room lights are switched on for atleast 16 hours a day.
Washroom lights are on 24 hours a day in most washrooms.
On average, the tubelight/LED in the room are on for about 8.25 hours.
On average, the yellow CFL in the room are on for about 1.6 hours.
We have ignored the contribution for the balcony since the majority doesn't use it.
Power rating in Watts(W)
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
2nd (3rd) Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
4th Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
5th Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
6th (7th, 8th) Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Mess H7 |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Mess H5 |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Study Rooms |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Study Room C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Washroom |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Rooms |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
|  | 4 x 18 | 2 x 36 | 1 x 28 | 1 x 11 | 1 x 18 | 1 x 9 | 2 x 11 | 1 x 20 | 1 x 9 | 1 x 13

## Hostel 5,7 COUNT
COUNT DATA
| Copies | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. | 1 | 2 | 0 | 2 | 13 | 0 | 13 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. | 2 | 2 | 0 | 0 | 18 | 2 | 0 | 0 | 0 | 0 | 0
4th Floor C. | 1 | 2 | 0 | 0 | 16 | 2 | 2 | 0 | 0 | 0 | 0
5th Floor C. | 1 | 2 | 0 | 0 | 15 | 0 | 8 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. | 3 | 2 | 0 | 0 | 13 | 0 | 6 | 0 | 0 | 0 | 0
Mess H7 | 0.5 | 0 | 0 | 2 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Mess H5 | 0.5 | 4 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 0
Study Rooms | 1 | 13 | 0 | 3 | 0 | 7 | 0 | 0 | 0 | 0 | 0
Study Room C. | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | 0
Washroom | 48 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 1.5 | 7 | 0
Rooms | 262 | 0 | 0 | 0.475 | 0 | 0.525 | 0 | 0 | 0 | 0 | 1
Raw Data from Hostel 5 (mostly) and some rooms/locations of Hostel 7.
Fractional values indicate that the count data has been entered after taking an average over several copies of that room. (or via survey forms)
The above data technically is technically a count of only a single hostel. To get an esimated count for all the hostels, multiply by 4.
TIME DATA
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
4th Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
5th Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
Mess H7 |  | 9 | 0 | 9 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Mess H5 |  | 9 | 0 | 9 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Study Rooms |  | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0
Study Room C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
Washroom |  | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 24 | 24 | 0
Rooms |  | 0 | 0 | 8.25 | 0 | 8.25 | 0 | 0 | 0 | 0 | 1.6
All the values are in hours (h).
Fractional values indicate that the time data has been noted down after taking an average over the data collected via surveys.
POWER RATING DATA
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
2nd (3rd) Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
4th Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
5th Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
6th (7th, 8th) Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Mess H7 |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Mess H5 |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Study Rooms |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Study Room C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Washroom |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Rooms |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
|  | 4 x 18 | 2 x 36 | 1 x 28 | 1 x 11 | 1 x 18 | 1 x 9 | 2 x 11 | 1 x 20 | 1 x 9 | 1 x 13
All the values of the power rating are in Watts (W).
Since the power rating is independent of the location/rooms, the matrix is identical along the columns.

## Sheet4
| Copies | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. | 1 | 2 | 0 | 2 | 13 | 0 | 13 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. | 2 | 2 | 0 | 0 | 18 | 2 | 0 | 0 | 0 | 0 | 0
4th Floor C. | 1 | 2 | 0 | 0 | 16 | 2 | 2 | 0 | 0 | 0 | 0
5th Floor C. | 1 | 2 | 0 | 0 | 15 | 0 | 8 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. | 3 | 2 | 0 | 0 | 13 | 0 | 6 | 0 | 0 | 0 | 0
Mess H7 | 0.5 | 0 | 0 | 2 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Mess H5 | 0.5 | 4 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 0
Study Rooms | 1 | 13 | 0 | 3 | 0 | 7 | 0 | 0 | 0 | 0 | 0
Study Room C. | 1 | 0 | 0 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | 0
Washroom | 48 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 1.5 | 7 | 0
Rooms | 262 | 0 | 0 | 0.475 | 0 | 0.525 | 0 | 0 | 0 | 0 | 1
To get the total count, we multiply all the lights by their number of copies, add them up, and in the end multiply them by 2 to get the count for Hostel 5 and 7.
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 4 | 0 | 4 | 26 | 0 | 26 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. |  | 8 | 0 | 0 | 72 | 8 | 0 | 0 | 0 | 0 | 0
4th Floor C. |  | 4 | 0 | 0 | 32 | 4 | 4 | 0 | 0 | 0 | 0
5th Floor C. |  | 4 | 0 | 0 | 30 | 0 | 16 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. |  | 12 | 0 | 0 | 78 | 0 | 36 | 0 | 0 | 0 | 0
Mess H7 |  | 0 | 0 | 2 | 0 | 8 | 0 | 0 | 0 | 0 | 0
Mess H5 |  | 4 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 0
Study Rooms |  | 26 | 0 | 6 | 0 | 14 | 0 | 0 | 0 | 0 | 0
Study Room C. |  | 0 | 0 | 4 | 2 | 0 | 2 | 0 | 0 | 0 | 0
Washroom |  | 0 | 0 | 0 | 0 | 0 | 48 | 0 | 144 | 672 | 0
Rooms |  | 0 | 0 | 248 | 0 | 274 | 0 | 0 | 0 | 0 | 524
| Total | 62 | 0 | 266 | 240 | 312 | 132 | 0 | 144 | 672 | 524
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
2nd (3rd) Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
4th Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
5th Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
6th (7th, 8th) Floor C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
Mess H7 |  | 9 | 0 | 9 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Mess H5 |  | 9 | 0 | 9 | 0 | 9 | 0 | 0 | 0 | 0 | 0
Study Rooms |  | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | 0 | 0
Study Room C. |  | 12 | 0 | 12 | 12 | 12 | 12 | 0 | 0 | 0 | 0
Washroom |  | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 24 | 24 | 0
Rooms |  | 0 | 0 | 8.25 | 0 | 8.25 | 0 | 0 | 0 | 0 | 1.6
We'll assume outdoor lights are switched on from 7 pm till 7 am, so 12 hours.
We'll assume that the mess is open for 3 hours for each meal, hence lights are on 9 hours a day.
Study room lights are switched on for atleast 16 hours a day.
Washroom lights are on 24 hours a day in most washrooms.
On average, the tubelight/LED in the room are on for about 8.25 hours.
On average, the yellow CFL in the room are on for about 1.6 hours.
We have ignored the contribution for the balcony since the majority doesn't use it.
Power rating in Watts(W)
|  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
1st Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
2nd (3rd) Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
4th Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
5th Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
6th (7th, 8th) Floor C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Mess H7 |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Mess H5 |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Study Rooms |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Study Room C. |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Washroom |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
Rooms |  | 72 | 72 | 28 | 11 | 18 | 9 | 22 | 20 | 9 | 13
|  | 4 x 18 | 2 x 36 | 1 x 28 | 1 x 11 | 1 x 18 | 1 x 9 | 2 x 11 | 1 x 20 | 1 x 9 | 1 x 13
|  |  | T⁴ | H² | T | D | L | ℓ | α² | U | C₉ | C₁₃
|  |  | 60912 | 0 | 81864 | 51840 | 98514 | 38880 | 0 | 62208 | 161280 | 15091.2

## Sheet7
COUNT DATA
| Copies | H² | T | L | α² | U
Faculty Office | 12 | 3.44 | 1.72 | 0.84 | 0 | 0
Faculty Corridor | 1 | 0 | 0 | 3 | 9 | 0
Washrooms | 2 | 0 | 1 | 0 | 0 | 2
5TL | 4 | 13 | 0 | 1 | 0 | 0
5L | 4 | 10 | 0 | 4 | 0 | 0
Corridor general | 1 | 0 | 0 | 13 | 36 | 0
Staircases | 1 | 0 | 0 | 2 | 0 | 0
Lift Area | 1 | 1 | 0 | 0 | 0 | 0
Raw Data from AB-2 5th Floor.
Fractional values indicate that the count data has been entered after taking an average over several copies of that room. (or via survey forms)
The above data technically is technically a count of only a single floor of AB. To get an estimated count for both the ABs, multiply by 5 (# of floors) * 2 (# of ABs) = 10.
TIME DATA
|  | T² | T | L | α² | U
Faculty Office |  | 8 | 8 | 8 | 8 | 8
Faculty Corridor |  | 16 | 16 | 16 | 16 | 16
Washrooms |  | 24 | 24 | 24 | 24 | 24
5TL |  | 20 | 20 | 20 | 20 | 20
5L |  | 20 | 20 | 20 | 20 | 20
Corridor general |  | 16 | 16 | 16 | 16 | 16
Staircases |  | 8 | 8 | 8 | 8 | 8
Lift Area |  | 8 | 8 | 8 | 8 | 8
All the values are in hours (h).
Fractional values indicate that the time data has been noted down after taking an average over the data collected via surveys.
POWER RATING DATA
|  | T² | T | L | α² | U
Faculty Office |  | 72 | 28 | 18 | 22 | 20
Faculty Corridor |  | 72 | 28 | 18 | 22 | 20
Washrooms |  | 72 | 28 | 18 | 22 | 20
5TL |  | 72 | 28 | 18 | 22 | 20
5L |  | 72 | 28 | 18 | 22 | 20
Corridor general |  | 72 | 28 | 18 | 22 | 20
Staircases |  | 72 | 28 | 18 | 22 | 20
Lift Area |  | 72 | 28 | 18 | 22 | 20
|  | 2 x 36 | 1 x 28 | 1 x 18 | 2 x 11 | 1 x 36
All the values of the power rating are in Watts (W).
Since the power rating is independent of the location/rooms, the matrix is identical along the columns.